## Slide 1
Quantum sensing for water-quality changes
Continuous-variable simulation | NYUAD Hackathon | 6 October 2026
1.39× lower total error in a controlled 16-node pilot
1.67× lower optical error at equal launched probe power
A dissolved-salt proxy calibrated from published optical data
Simulated feasibility; no claim of a deployed chemical detector
CONTINUOUS WATER SENSING • SIMULATION
1 / 18
Notes: Main results: results/summary.json. Sources and assumptions: docs/SOURCES.md. All concentration errors concern differential NaCl in mg/kg. Pilot assumes 100 m links, 10 nW/node, 1 s windows and 0.05 mK shared temperature residual.

## Slide 2
What the supplied research establishes
Optical sensing evidence, distributed theory and water-data analysis answer different questions
Plasmonic paper: measured optical advantage in air at 199 kHz; not a calibrated water sensor.
Loss supplement: vacuum entering optical loss ports degrades squeezed-light readout.
Distributed CV papers: aggregate precision improves with shared squeezing; resources and loss govern scaling.
Water QML paper: strong classical baselines remain competitive. No QML advantage is assumed.
CONTINUOUS WATER SENSING • SIMULATION
2 / 18
Notes: S1–S6 in docs/SOURCES.md. Supplied PDFs reviewed in full as extracted text, relevant optical figures checked visually. Nature Photonics chat link is a different experiment from Guo et al. CV Nature Physics study.

## Slide 3
A measurable water proxy
NaCl concentration changes are calibrated; pollutant identity remains unresolved
At 1550 nm: n(W) = −0.0800 W³ + 0.0740 W² + 0.1620 W + 1.3162
W is salt mass fraction. Around 500 mg/kg, dn/dc = 1.621 × 10⁻⁷ RIU per mg/kg.
Proposed 10 µm interaction length gives 6.570 × 10⁻⁶ rad per mg/kg.
YSI EXO field reference: salinity accuracy ±1% or 0.1 ppt; temperature accuracy ±0.01 °C.
Field accuracy bounds are not shot-noise standard deviations. This is a change detector, not a safety test.
CONTINUOUS WATER SENSING • SIMULATION
3 / 18
Notes: S7: https://doi.org/10.1364/AO.55.000947 Table 2, 298 K, 0–25% mass fraction. S11: https://www.ysi.com/product/id-599870/exo-conductivity--temperature-smart-sensor. Effective optical length and baseline are engineering assumptions. Practical salinity is not identical to NaCl mass fraction.

## Slide 4
Continuous-variable measurement model
One squeezed mode → beam-splitter tree → sample taps → local homodyne → regional mean
Each tap has an arbitrary local concentration change; estimate q = Σ cᵢ / M.
Propagate the full Gaussian covariance through loss, then calibrate each measured quadrature.
Compute the actual estimator variance: Var(q̂) = wᵀ Σ w.
Compare coherent light, independent squeezers, and distributed squeezing at equal total launched probe photons.
Include an optimized classical power-allocation baseline for unequal regional losses.
CONTINUOUS WATER SENSING • SIMULATION
4 / 18
Notes: S4/S5. See docs/MODEL.md for full conventions, state covariance, phase linearization, jitter approximation and resource ledger. We do not claim universal quantum optimality or universal saturation of QFI under loss.

## Slide 5
Ideal scaling emerges from the model
Lossless and uncapped: squeezed photons increase with M
Chart: log₁₀ optical RMSE (mg/kg)
Fitted exponent, M=33–64: classical −0.50; distributed −0.95.
This theoretical reference exceeds the practical 10 dB source cap.
CONTINUOUS WATER SENSING • SIMULATION
5 / 18
Notes: Computed by src/model.py and results/summary.json. Per-node squeezed budget 0.1 photon/mode, total Ns=0.1 M; equal launched bright-plus-squeezed photon budgets. S4 asymptotic displacement model.

## Slide 6
Loss and drift soften the scaling advantage
100 m links, 10 dB source cap, 10 mrad phase jitter and 0.05 mK shared residual
Chart: Total 1 s RMSE (mg/kg)
More sensors add probe power. The quantum source reaches its cap at 21 nodes.
Curves describe differential precision under the specified engineering assumptions.
CONTINUOUS WATER SENSING • SIMULATION
6 / 18
Notes: results/scaling.csv, geometry=pilot. Assumed detector 95%, sample 90%, coupling 90%, 0.05 dB excess per splitter stage. Fiber 0.18 dB/km from Corning S9.

## Slide 7
The 16-node pilot reduces total error by 28%
One-second estimates, same 160 nW total launched probe power
Chart: Probe strategy
| Coherent | Independent squeezed | Distributed squeezed
Optical error | 0.079619 | 0.064733 | 0.047583
Total error | 0.092101 | 0.079585 | 0.066389
Total RMSE: 0.092 → 0.066 mg/kg; 1.39× precision gain.
Independent squeezers reach 0.080 mg/kg: the distributed configuration adds a further 17% reduction.
CONTINUOUS WATER SENSING • SIMULATION
7 / 18
Notes: results/summary.json pilot16. No measured-field accuracy claim. Common residual 50 microkelvin is an ambitious compensated bench target.

## Slide 8
Real distances reduce the regional gain
64 distinct supplied well locations; an assumed hub and 1.3× routing overhead
Chart: Total 1 s RMSE (mg/kg)
Locations span 3.5–16.6 km from the hub; mean transmission at M=64 is 37%.
At 64 nodes: 1.11× gain over optimized coherent power allocation.
The supplied file is USGS-labelled; missing provenance prevents independent field-data validation.
CONTINUOUS WATER SENSING • SIMULATION
8 / 18
Notes: data/site_geometry.csv derives coordinates only from draft. 8889 records reduce to 7704 coordinate pairs; nearest64 selected. As M changes, sampled population changes, so this is not a sensor-reduction claim for one fixed spatial target.

## Slide 9
Temperature compensation determines useful gain
Common thermal error appears in every sensor and survives spatial averaging
Chart: Classical / quantum total RMSE
1 mK corresponds to about 0.916 mg/kg of apparent salt change.
At a 10 mK common residual, quantum and classical total errors are almost identical.
CONTINUOUS WATER SENSING • SIMULATION
9 / 18
Notes: S10 reports dn/dT≈−1.485e−4 RIU/K at1550nm. The exact coefficient depends on temperature/composition. 0.05 mK and10 mK are assumed stochastic residuals, not manufacturer statistical specifications.

## Slide 10
More classical light is a competing option
Power sweep from 1 nW to 70 µW per node; no claim that water requires a 10 nW limit
Chart: Total 1 s RMSE (mg/kg)
The default is a deliberately constrained optical-dose budget.
With enough light, shared drift dominates both approaches and the quantum gain becomes negligible.
CONTINUOUS WATER SENSING • SIMULATION
10 / 18
Notes: results/power_sensitivity.csv. 70µW is used only as a broad sweep endpoint comparable in magnitude to S1 detected probe power; S1 itself is a different wavelength/sensor. Pump and local-oscillator overhead are excluded from probe budgets.

## Slide 11
Continuous averaging encounters slow drift
Exact variance of a rectangular average of a 60-second correlated temperature process
Chart: Total RMSE (mg/kg)
Short windows are optical-noise limited; longer windows encounter correlated drift.
Fixed calibration offsets average across nodes, not across time. Long windows also blur fast events.
CONTINUOUS WATER SENSING • SIMULATION
11 / 18
Notes: docs/MODEL.md OU integrated-covariance formula. Stationary mean estimation, not transient tracking. Independent 0.03mg/kg node calibration offsets assumed.

## Slide 12
Quantum readout improves a weak-change decision
A 0.15 mg/kg regional increase; identical 1% false-alarm probability per decision
Chart: Probe strategy
| Coherent | Independent squeezed | Distributed squeezed
Analytic probability | 0.24268 | 0.3294 | 0.47331
100,000 Monte Carlo trials | 0.24311 | 0.3316 | 0.47512
Detection rises from 24% to 47%; the same signal is easier to distinguish.
1% at 1 Hz means 36 expected flagged windows/hour. An operational alarm needs sequential validation.
CONTINUOUS WATER SENSING • SIMULATION
12 / 18
Notes: results/detection.csv. Independent Monte Carlo marginal windows, not independent samples of the OU trace. Assumes Gaussian moments including squeeze-angle jitter. Decision threshold is not regulatory. Bonferroni alpha=0.05/3600 bounds hourly familywise false-alarm probability at5% without independence.

## Slide 13
Continuous monitoring of unequal local changes
Synthetic arrivals differ across all 16 taps; the regional estimator remains well defined
Chart: NaCl change (mg/kg)
The shared temperature trace and calibration realization are matched between strategies.
A 10-second response introduces lag. Stationary precision does not include this transient bias.
CONTINUOUS WATER SENSING • SIMULATION
13 / 18
Notes: results/time_trace.csv. Synthetic changes, not observed water data. Independent optical noise, common OU realization, seed2601006. Optical noise advantage concerns the aggregate; local contrasts do not receive the same benefit.

## Slide 14
Sensor count and photon budget are distinct
Fixed 160 nW total carrier-plus-squeezing budget and fixed total squeezing resource
Chart: Optical RMSE (mg/kg)
Adding nodes spreads the same light more thinly; it does not produce a free 1/M improvement.
Sensor locations set coverage. Fewer sensors cannot guarantee the same protection against unsampled hotspots.
CONTINUOUS WATER SENSING • SIMULATION
14 / 18
Notes: results/resources.csv. Both total launched photon flux and total Ns fixed to16-node values in this panel. Component transmission includes stepwise splitter depth. Pump infrastructure not costed.

## Slide 15
A real optical experiment anchors the opportunity
Reported refractive-index sensitivities; a separate measured benchmark
Chart: Optical configuration
| Matched classical | Best classical* | Twin beams
Dowran et al. 2018 | 8.6 | 6.8 | 5.5
795 nm, air, 199 kHz ultrasound. *Best single-beam classical value is inferred in the paper.
Twin beams give 1.24× sensitivity gain over that best classical comparator; not a NaCl field test.
CONTINUOUS WATER SENSING • SIMULATION
15 / 18
Notes: Supplied quantum_photonic_sensing.pdf pp4–5, https://doi.org/10.1364/OPTICA.5.000628. Do not read sensitivity as 1-s Gaussian accuracy; no transfer of these RF numbers to our DC/telecom water scenario.

## Slide 16
A credible next experiment
Validate a four-tap optical prototype before extrapolating to a regional network
Calibrate NaCl phase response with standards and controlled temperature at 1550 nm.
Measure noise spectra, sample loss, modulation efficiency and squeezing at the same optical dose.
Compare coherent, independent squeezed and distributed readout using blind injected changes.
Validate drift, fouling and false alarms over hours; measure actual optical and electrical resources.
Advance only if total error improves. Keep chemical identification and spatial coverage as separate requirements.
CONTINUOUS WATER SENSING • SIMULATION
16 / 18
Notes: Proposed experimental plan, not completed hardware work. Four-tap size inspired by S6 laboratory demonstration. Existing simulation results are available in results/ and figures/.

## Slide 17
Assumptions that control the result
These are design targets, not measured specifications of a quantum water detector
10 nW/node; 10 µm effective optical interaction; 500 mg/kg background; 1-second decisions.
10 dB maximum source squeezing; 1 MHz effective mode rate; 10 mrad phase-lock RMS.
95% detector, 90% sample, 90% coupling; 0.05 dB splitter excess/stage.
100 m pilot links; regional links = 1.3× geographic distance; 0.18 dB/km fiber anchor.
0.05 mK compensated common residual; 60 s correlation; 0.03 mg/kg independent calibration RMS.
10 mK field stress test; 1 nW–70 µW power sweep. Full register: docs/SOURCES.md.
CONTINUOUS WATER SENSING • SIMULATION
17 / 18
Notes: config/default.json is the single editable numerical configuration. All sourced versus assumed quantities are distinguished in docs/SOURCES.md. No costs, chemical selectivity or QML speedup are claimed.

## Slide 18
Sources and reproducibility
Code, parameter provenance, raw numerical outputs and figures are included
Dowran et al. (2018), Optica 5, 628 — doi:10.1364/OPTICA.5.000628
Zhuang et al. (2018), PRA 97, 032329 — arXiv:1711.10459
Oh et al. (2020), PR Research 2, 023030 — doi:10.1103/PhysRevResearch.2.023030
Guo et al. (2020), Nature Physics 16, 281 — arXiv:1905.09408
Saunders et al. (2016), Applied Optics 55, 947 — doi:10.1364/AO.55.000947
Mehmet et al. (2011), Optics Express 19, 25763 — arXiv:1110.3737
Kim et al. (2012), Optical Sensors STu1F.3; Corning AN2008; YSI EXO specifications.
Water QML paper (2026), Quantum Reports 8, 60 — doi:10.3390/quantum8030060
CONTINUOUS WATER SENSING • SIMULATION
18 / 18
Notes: Full source links, supplied supporting-information details, assumptions and data provenance: docs/SOURCES.md. Reproduce: python src/run.py; python src/validate.py. Original draft file hashes are checked unchanged.